|  | # FACULTY OF ENGINEERING AND TECHNOLOGY # DEPARTMENT OF ELECTRICAL AND ELECTRONICS ENGINEERING |
| --- | --- |

| Name | :___________________________ | Department | : ________________________ |
| --- | --- | --- | --- |
| Application No. | :___________________________ | Date | : 16/05/2026 |
|  |  | Duration | : 2 hrs |
|  |  | Maximum Marks | A : 50×1=50 |

Instructions to Candidates - This question paper consists of Multiple Choice Questions (MCQs) only. - Each question has four options (a, b, c, and d), out of which only one option is correct. - Each correct answer carries one mark. There is no negative marking for incorrect answers. - Candidates must mark their answers only on the OMR sheet provided. - The use of calculators, mobile phones, smartwatches, or any electronic devices is strictly prohibited inside the examination hall. - Reference materials, notes, books, or any printed resources are not permitted during the examination. - Use only a black or blue ballpoint pen to mark the answers on the OMR sheet. - Rough work should be done only in the space provided in the question paper booklet. - Before starting the examination, ensure that all required details (Name, Application Number, etc.) are correctly filled in on the OMR sheet. - Do not fold, damage, or mark the OMR sheet unnecessarily, as it will be scanned for evaluation.

Research Methodology

(25×1=25)

- The primary purpose of basic research is to:
A) Solve practical problems
B) Generate new knowledge
C) Improve policy
D) Increase profits

- Which type of research aims at finding a solution to an immediate problem?
A) Basic research
B) Fundamental research
C) Applied research
D) Theoretical research

- Research conducted to test a theory is known as:
A) Applied research
B) Conceptual research
C) Empirical research
D) Explanatory research

- In research, a tentative explanation or prediction is called a:
A) Law
B) Theory
C) Hypothesis
D) Assumption

- A study that observes and records behavior without manipulating any variables is called:
A) Experimental research
B) Descriptive research
C) Analytical research
D) Applied research

- In a true experimental design, which of the following is essential?
A) Pre-test
B) Random assignment
C) Post-test
D) Quota sampling

- What type of research design is used to examine cause-effect relationships?
A) Historical
B) Descriptive
C) Correlational
D) Experimental

- Case study method is an example of:
A) Quantitative research
B) Experimental research
C) Qualitative research
D) Hypothetical research

- Which sampling method gives every element in the population an equal chance of being selected?
A) Stratified sampling
B) Simple random sampling
C) Cluster sampling
D) Convenience sampling

- Sampling error is reduced by:
A) Increasing sample size
B) Decreasing sample size
C) Using convenience sampling
D) Ignoring population variation

- Cluster sampling is most useful when:
A) Units are spread over a wide geographic area
B) The population is homogeneous
C) Budget is not a constraint
D) Probability sampling is not required

- Primary data is collected through:
A) Journals
B) Websites
C) Textbooks

D) All the above

- Which of the following is not a tool for collecting primary data?
A) Observation
B) Questionnaire
C) Schedule
D) Secondary sources

- A structured set of questions for data collection is known as a:
A) Hypothesis
B) Protocol
C) Questionnaire
D) Sampling frame

- Which method is most suitable for collecting sensitive information?
A) Face-to-face interview
B) Telephonic interview
C) Anonymous questionnaire
D) Focus group discussion

- Which statistical measure is used to identify the central tendency of data?
A) Variance
B) Mean
C) Range
D) Standard deviation

- Which of the following software is commonly used for statistical analysis?
A) MATLAB
B) AutoCAD
C) SPSS
D) SolidWorks

- Correlation is used to:
A) Determine causation
B) Measure variation
C) Show relationship between variables
D) Test hypotheses

- The process of drawing conclusions from analyzed data is called:
A) Coding
B) Sampling
C) Interpretation
D) Tabulation

- Plagiarism in research means:
A) Reporting negative results
B) Using others' work without credit
C) Failing a hypothesis
D) Publishing in low-impact journals

- Which of the following is not part of research ethics?
A) Honesty
B) Integrity
C) Fabrication
D) Confidentiality

- A good research report should have:
A) Personal opinions
B) A detailed abstract
C) Redundant data
D) Ambiguous conclusions

- In a research report, references are usually listed in:
A) Appendix
B) Introduction
C) Literature review
D) End of the report

- Which part of a thesis outlines the background and need for the study?
A) Abstract
B) Methodology
C) Introduction
D) Conclusion

- Which of the following is considered a violation of research ethics?

A) Reporting results honestly
B) Acknowledging all collaborators
C) Fabricating experimental data
D) Citing all relevant literature

Subject-Specific Questions

(25×1=25)

### 26. In a parallel circuit, three resistors of 12Ω, 6Ω, and 4Ω are connected. What is the total resistance?

A) 22Ω
B) 1.5Ω
C) 2Ω
D) 3Ω

### 27. A 100 V source supplies a current of 5 A to a load. What is the power consumed?

A) 20 W
B) 500 W
C) 105 W
D) 95 W

### 28. A coil has resistance 5Ω and inductance 0.2 H. What is the impedance at 50 Hz?

A) 5Ω
B) 20Ω
C) 8.2Ω
D) 10Ω

### 29. A 4-pole, 50 Hz induction motor runs at 1440 rpm. What is its slip?

A) 4%
B) 6%
C) 3%
D) 10%

### 30. The EMF equation of a DC generator is E=kϕNE = k\phi N. If flux (ϕ) is halved and speed (N) doubled, what happens to EMF?

A) Remains same
B) Doubles
C) Halves
D) Becomes zero

### 31. A transformer has a turns ratio of 10:1 and a primary voltage of 1000 V. The secondary voltage is:

A) 10 V
B) 100 V
C) 10000 V
D) 500 V

### 32. A transformer draws 2 A at 220 V primary voltage. If efficiency is 100%, secondary power is:

A) 220 W
B) 440 W
C) 110 W
D) 2200 W

### 33. A 3-phase alternator is rated at 100 kVA, 400 V. Line current at full load is:

A) 144 A
B) 250 A
C) 100 A
D) 50 A

### 34. If a synchronous motor takes 30 A at 400 V with power factor 0.8 lagging, what is its input power?

A) 9600 W
B) 9600 VA
C) 14400 W
D) 14400 VA

### 35. A 3-phase line has a line voltage of 11 kV and carries 10 MW power at 0.9 pf lagging. What is the line current?

A) 524 A
B) 464 A
C) 383 A
D) 278 A

### 36. A 220 kV transmission line has a resistance of 0.2 Ω and carries 500 A. What is the line loss?

A) 10 kW
B) 50 kW
C) 100 kW
D) 20 kW

### 37. A power system has a base power of 100 MVA. A generator is rated at 250 MVA. Its per unit rating is:

A) 0.25
B) 2.5
C) 1.25
D) 0.4

### 38. A load draws 20 MW at 0.8 pf lagging. What is the reactive power (Q)?

A) 15 MVAR
B) 10 MVAR
C) 12 MVAR
D) 18 MVAR

### 39. A first-order system has a time constant of 5 s. What is its response at t = 5 s to a unit step input?

A) 0.63
B) 0.5
C) 1.0
D) 0.37
(y(t) = 1 − e^(−t/τ))

### 40. A system has a transfer function G(s) = 10/(s+5). What is the steady-state output for a unit step input?

A) 10
B) 2
C) 1
D) 0

### 41. What is the gain margin if |G(jω)| = 0.2 at phase crossover frequency?

A) 10 dB
B) 5 dB
C) 20 dB
D) 14 dB

### 42. A relay operates at 150% of 5 A plug setting. Primary CT ratio is 400:5. Pickup current (primary)?

A) 10 A
B) 600 A
C) 120 A
D) 300 A

### 43. Making current of a breaker is typically:

A) √2 × breaking current
B) 1.2 × breaking current
C) 2.5 × breaking current
D) 10 × rated current

### 44. A transmission line carries a fault current of 10 kA. What should be the minimum breaking capacity of the breaker at 132 kV?

A) 1320 MVA
B) 2285 MVA
C) 2000 MVA
D) 1000 MVA

### 45. The main purpose of a Buchholz relay is to protect against:

A) Overload
B) Earth faults
C) Gas formation inside transformer
D) Overcurrent

46. An op-amp has a gain of 100 and input of 0.02 V. What is the output?

A) 2 V
B) 0.2 V
C) 20 V
D) 200 V

### 47. A binary number 1101 is equal to decimal:

A) 12
B) 13
C) 14
D) 15

### 48. In a 4-bit DAC, the maximum number of output voltage levels is:

A) 8
B) 16
C) 10
D) 4

### 49. The output of a NAND gate is 0 only when:

A) All inputs are 0
B) All inputs are 1
C) At least one input is 0
D) Inputs are different

### 50. The size of address bus in 8085 microprocessor is:

A) 8-bit
B) 16-bit
C) 20-bit
D) 32-bit

Answer Key

A

| Question No. | Correct Option | Question No. | Correct Option |
| --- | --- | --- | --- |
| 1 | B | 26 | C |
| 2 | C | 27 | B |
| 3 | D | 28 | C |
| 4 | C | 29 | A |
| 5 | B | 30 | A |
| 6 | B | 31 | B |
| 7 | D | 32 | A |
| 8 | C | 33 | A |
| 9 | B | 34 | A |
| 10 | A | 35 | C |
| 11 | A | 36 | B |
| 12 | D | 37 | B |
| 13 | D | 38 | C |
| 14 | C | 39 | A |
| 15 | C | 40 | C |
| 16 | B | 41 | C |
| 17 | C | 42 | B |
| 18 | C | 43 | C |
| 19 | C | 44 | B |
| 20 | B | 45 | C |
| 21 | C | 46 | A |
| 22 | B | 47 | B |
| 23 | D | 48 | B |
| 24 | C | 49 | B |
| 25 | C | 50 | B |

### Note to Question Paper Setters - Format Requirements - Font: Times New Roman - Font Size: 12 - Equations - All equations must be created using MathType or the Microsoft Equation Editor. - Images of equations should not be inserted. - Figures and Images - Any figures or images included must be clear, high-resolution, and suitable for printed format. - Answer Indication - The correct answer should be clearly bolded in the submitted question paper template. - Examination Rules - The use of calculators or reference materials is not permitted during the examination. - Question Set Preparation - Questions must not be repeated across Set A and Set B. - Questions with similar meaning or concept duplication should be avoided across the sets to ensure a diverse assessment of candidates' knowledge and critical thinking skills. - Standard of Questions - The questions should be appropriate for a PhD entrance examination and cover both: - Research Methodology - Subject-specific advanced concepts - The answer keys must be provided in the template. - The name of the institution and the department must be clearly mentioned at the top of the template.