|  | # FACULTY OF ENGINEERING AND TECHNOLOGY # DEPARTMENT OF ELECTRICAL AND ELECTRONICS ENGINEERING |
| --- | --- |

| Name | :___________________________ | Department | : ________________________ |
| --- | --- | --- | --- |
| Application No. | :___________________________ | Date | : 16/05/2026 |
|  |  | Duration | : 2 hrs |
|  |  | Maximum Marks | B : 50×1=50 |

Instructions to Candidates - This question paper consists of Multiple Choice Questions (MCQs) only. - Each question has four options (a, b, c, and d), out of which only one option is correct. - Each correct answer carries one mark. There is no negative marking for incorrect answers. - Candidates must mark their answers only on the OMR sheet provided. - The use of calculators, mobile phones, smartwatches, or any electronic devices is strictly prohibited inside the examination hall. - Reference materials, notes, books, or any printed resources are not permitted during the examination. - Use only a black or blue ballpoint pen to mark the answers on the OMR sheet. - Rough work should be done only in the space provided in the question paper booklet. - Before starting the examination, ensure that all required details (Name, Application Number, etc.) are correctly filled in on the OMR sheet. - Do not fold, damage, or mark the OMR sheet unnecessarily, as it will be scanned for evaluation.

Research Methodology

(25×1=25)

- Which research design is used to explore a phenomenon in depth?

a) Experimental Design           b) Quasi-Experimental Design

c) Case Study Design              d) Correlational Design

- What is the first step in the research process?

a) Literature Review                  b) Data Collection

c) Problem Identification            d) Hypothesis Formulation

- What is the purpose of a literature review?

a) To collect data                        b) To analyze data

c) To identify research gaps       d) To draw conclusions

- What is the main difference between qualitative and quantitative research?

a) Data collection methods                   b) Data analysis techniques

c) Research questions                          d) All of the above

- What is the purpose of a research hypothesis?

a) To prove a theory                             b) To explain a phenomenon

c) To make a prediction                        d) To describe a situation

- What is the term used to describe the consistency of a measurement?

a) Reliability      b) Validity      c) Accuracy          d) Precision

- What is the term used to describe the extent to which a measurement measures what it is intended to measure?

a) Reliability       b) Validity      c) Accuracy          d) Precision

- Which sampling technique involves selecting participants based on specific criteria?

a) Simple Random Sampling                  b) Stratified Random Sampling

c) Cluster Sampling                                d) Purposive Sampling

- What is the purpose of a pilot study?

a)To test the research design                 b) To collect preliminary data

c) To refine the research questions        d) All of the above

- Which data analysis technique is used to identify patterns and themes in qualitative data?

a) Statistical analysis                              b) Content analysis

c) Thematic analysis                               d) Discourse analysis

- What is the term used to describe the ethical principle of respecting participants' autonomy and privacy?

a) Beneficence                                         b) Justice

c) Respect for persons                             d) Non-maleficence

- What is the term used to describe the ethical principle of minimizing harm to participants?

a) Beneficence      b) Justice       c) Respect for persons        d) Non-maleficence

- Which research approach emphasizes the subjective experiences of individuals?

a) Positivism       b) Interpretivism       c) Critical Theory        d) Constructivism

- Which research approach emphasizes the objective measurement of variables?

- Positivism      b) Interpretivism       c) Critical Theory         d) Constructivism

- What is the term used to describe the degree to which research findings can be generalized to other populations or contexts?

a) Internal validity   b) External validity    c) Reliability              d) Validity

- What is the term used to describe the degree to which a research study can be replicated?

a) Internal validity     b) External validity    c) Reliability             d) Validity

- Which research design involves manipulating an independent variable to observe its effect on a dependent variable?

- Experimental Design                             b) Quasi-Experimental Design

- c) Correlational Design                          d) Case Study Design

- Which research design involves comparing two or more groups without random assignment?

a) Experimental Design                               b) Quasi-Experimental Design

c) Correlational Design                                d) Case Study Design

- Which research design involves examining the relationship between two or more variables?

a) Experimental Design                             b) Quasi-Experimental Design

c) Correlational Design                              d) Case Study Design

- Which sampling technique involves selecting every nth participant from a list?

a) Simple Random Sampling                       b) Systematic Sampling

c) Stratified Random Sampling                    d) Cluster Sampling

- Which sampling technique involves dividing the population into subgroups and then selecting participants from each subgroup?

a) Simple Random Sampling                        b) Systematic Sampling

c) Stratified Random Sampling                 d) Cluster Sampling

- Which sampling technique involves selecting groups of participants, such as schools or classrooms?

a)Simple Random Sampling                              b) Systematic Sampling

c) Stratified Random Sampling                          d) Cluster Sampling

Answer: d) Cluster Sampling

- Which data analysis technique involves reducing large amounts of data into meaningful categories?

a) Statistical analysis                                      b) Content analysis

c) Thematic analysis                                       d) Discourse analysis

- Which data analysis technique involves analyzing language and discourse?

a) Statistical analysis                                       b) Content analysis

c) Thematic analysis                                       d) Discourse analysis

- What is the term used to describe the process of drawing conclusions about a population based on a sample?

a) Inference          b) Generalization             c) Induction              d) Deduction

Subject-Specific Questions

(25×1=25)

- For a series RLC circuit, at resonance, the impedance is purely,

- Capacitive             b) Reactive                   c) Inductive                    d) Resistive

- The superposition theorem can be applied to circuits containing,

- Non-linear elements                     b) Dependent sources only

c) Unilateral elements                     d) Linear bilateral elements and independent sources

28. For the circuit shown in the figure, V1 = 8 V, DC and I1 = 8 A, DC. The voltage Vab in Volts is, ______(Round off to 1 decimal place).

- 6 V             b) 10 V                       c) 12 V                      d) None of the above

29. The following columns present various modes of induction machine operation and the ranges of slip

| A (Made of operation) a. Running in generator mode b. Running in motor mode c. Plugging in motor mode | B (Range of slip) p) From 0.0 to 1.0 q) From 1.0 to 2.0 r) From -1.0 to 0.0 |
| --- | --- |

The correct matching between the elements in column A with those of column B is

(a) a-r, b-p, and c-q                                                    (b) a-r, b-q, and c-p

(c) a-p, b-r, and c-q                                                    (d) a-q, b-p, and c-r

30. The efficiency of a transformer is maximum when:

a) Core losses are minimum                                         b) Copper losses are minimum

c) Core and copper losses are equal                           d) None of the above

31. The synchronous speed of an alternator is given by:

  - Ns = 120f/P                                                           (b) Ns = 60f/P

- Ns = 120P/f                                                           (d) Ns = 60P/f

- The slip of an induction motor is defined as:

  - (Ns - Nr)/Ns                                                    (b) (Nr - Ns)/Ns

(c) Ns/Nr                                                                  (d) Nr/Ns

33. A balanced three-phase system has:

  - Three phase voltages with equal magnitude and phase difference of 60 degrees.

  - Three phase currents with equal magnitude and phase difference of 120 degrees.

  - Both a and b

  - None of the above

34. In a power system, a bus has a specified voltage magnitude of 1.0 p.u and real power generation of 1.5 p.u, and the load is 1.0 p.u. What is the net injected real power at this bus?
A) 0.0 p.u
B) 0.5 p.u
C) -0.5 p.u
D) 1.0 p.u

35. A transmission line has a series impedance of 0.05 + j0.2 per unit. If the current flowing is 1∠0° p.u, what is the voltage drop across the line?
A) 0.05∠0° p.u
B) 0.206 p.u ∠75°
C) 0.25∠75° p.u
D) 0.206∠45° p.u

36. n a system, if the load suddenly increases by 100 MW and the system frequency drops by 0.1 Hz, the frequency regulation constant (R) is:
A) 10 MW/Hz
B) 1000 MW/Hz
C) 100 MW/Hz
D) 10000 MW/Hz

37. Two generators have incremental fuel costs:

- Generator 1: dC₁/dP = 0.02P₁ + 20

- Generator 2: dC₂/dP = 0.04P₂ + 15

If the total load is 150 MW, what is the optimum value of P₁ (rounded to nearest integer)?
A) 75 MW
B) 90 MW
C) 100 MW
D) 60 MW

38. A first-order system has a transfer function

G(s) = 11+2s

What is the time constant (τ) of the system?

A) 1
B) 2
C) 0.5
D) 0.25

39. A system has an open-loop transfer function

G(s)H(s) = 10S(S+2)

If the gain crossover frequency is 2 rad/sec, what is the magnitude of the open-loop transfer function at that frequency?

A) 2.5
B) 1.0
C) 0.5
D) 0.25

40. A circuit breaker is rated for 1200 A, 25 kA, 132 kV. What does the 25 kA refer to?

A) Rated continuous current
B) Rated short-circuit breaking current
C) Rated making current
D) Rated peak withstand current

41. For proper coordination between a fuse and a circuit breaker, which of the following must be ensured?

A) Fuse operating time > Breaker operating time
B) Fuse operating time < Breaker operating time
C) Both operate simultaneously
D) Breaker must never operate

42. A current transformer of ratio 500:5 is used with an overcurrent relay having a plug setting of 125%. What is the pickup current in the primary side?

A) 5 A
B) 6.25 A
C) 125 A
D) 625 A

43. Which medium is used for arc quenching in a modern SF₆ circuit breaker?

A) Oil
B) Air
C) Sulfur hexafluoride gas
D) Vacuum

44. An ideal op-amp has an input offset voltage of:

A) 0 V
B) 1 mV
C) 5 mV
D) 10 mV

45. A silicon diode in forward bias typically has a voltage drop of:

A) 0.2 V
B) 0.3 V
C) 0.5 V
D) 0.7 V

46. Which of the following logic gates is a universal gate?

A) AND
B) OR
C) XOR
D) NAND

47. What is the decimal equivalent of the binary number 1011?

A) 9
B) 10
C) 11
D) 12

48. Which of the following distinguishes a microcontroller from a microprocessor?

A) Microprocessor has built-in I/O ports
B) Microcontroller needs external RAM and ROM
C) Microcontroller has built-in RAM, ROM, and I/O ports
D) Microprocessor is used for embedded applications

49. The 8085 microprocessor has a ______ bit address bus and can access up to ______ memory locations.

A) 8-bit, 256
B) 16-bit, 64 KB
C) 20-bit, 1 MB
D) 32-bit, 4 GB

50. In nanomaterials, the quantum confinement effect becomes significant when:

A) The material size exceeds 1 micrometer
B) The particle size is comparable to or smaller than the exciton Bohr radius
C) The temperature is raised above 100°C
D) The material is exposed to high pressure

Answer Key

B

| Question No. | Correct Option | Question No. | Correct Option |
| --- | --- | --- | --- |
| 1 | C | 26 | D |
| 2 | C | 27 | D |
| 3 | C | 28 | A |
| 4 | D | 29 | A |
| 5 | C | 30 | C |
| 6 | A | 31 | A |
| 7 | B | 32 | A |
| 8 | D | 33 |  |
| 9 | D | 34 | B |
| 10 | C | 35 | C |
| 11 | C | 36 | B |
| 12 | D | 37 | B |
| 13 | B | 38 | B |
| 14 | A | 39 | D |
| 15 | B | 40 | B |
| 16 | A | 41 | B |
| 17 | A | 42 | D |
| 18 | B | 43 | C |
| 19 | C | 44 | A |
| 20 | B | 45 | D |
| 21 | C | 46 | D |
| 22 | D | 47 | C |
| 23 | B | 48 | C |
| 24 | D | 49 | B |
| 25 | B | 50 | B |

### Note to Question Paper Setters - Format Requirements - Font: Times New Roman - Font Size: 12 - Equations - All equations must be created using MathType or the Microsoft Equation Editor. - Images of equations should not be inserted. - Figures and Images - Any figures or images included must be clear, high-resolution, and suitable for printed format. - Answer Indication - The correct answer should be clearly bolded in the submitted question paper template. - Examination Rules - The use of calculators or reference materials is not permitted during the examination. - Question Set Preparation - Questions must not be repeated across Set A and Set B. - Questions with similar meaning or concept duplication should be avoided across the sets to ensure a diverse assessment of candidates' knowledge and critical thinking skills. - Standard of Questions - The questions should be appropriate for a PhD entrance examination and cover both: - Research Methodology - Subject-specific advanced concepts - The answer keys must be provided in the template. - The name of the institution and the department must be clearly mentioned at the top of the template.