|  | # FACULTY OF ENGINEERING AND TECHNOLOGY # DEPARTMENT OF BIOMEDICAL ENGINEERING |
| --- | --- |

B

| Name | :___________________________ | Department | : ________________________ |
| --- | --- | --- | --- |
| Application No. | :___________________________ | Date | : 16/05/2026 |
|  |  | Duration | : 2 hrs |
|  |  | Maximum Marks | : 50×1=50 |

Instructions to Candidates - This question paper consists of Multiple Choice Questions (MCQs) only. - Each question has four options (a, b, c, and d), out of which only one option is correct. - Each correct answer carries one mark. There is no negative marking for incorrect answers. - Candidates must mark their answers only on the OMR sheet provided. - The use of calculators, mobile phones, smartwatches, or any electronic devices is strictly prohibited inside the examination hall. - Reference materials, notes, books, or any printed resources are not permitted during the examination. - Use only a black or blue ballpoint pen to mark the answers on the OMR sheet. - Rough work should be done only in the space provided in the question paper booklet. - Before starting the examination, ensure that all required details (Name, Application Number, etc.) are correctly filled in on the OMR sheet. - Do not fold, damage, or mark the OMR sheet unnecessarily, as it will be scanned for evaluation.

Subject-Specific Questions

(25×1=25)

| 26 | In electrosurgery, what is the function of the active electrode (also known as the "diathermy pencil")? A. To provide lighting in the operating room B. To deliver electrical energy to the patient's body tissue C. To measure the patient's blood pressure D. To maintain a sterile surgical field |
| --- | --- |
| 27 | Interferential current therapy is primarily used for: A.Treating psychological conditions B.Enhancing vision C. Pain relief and muscle stimulation D. Hair removal |
| 28 | In spinal cord stimulation (SCS), which type of chronic pain condition is commonly treated by implanting a stimulator device? A. Acute migraine B. Fibromyalgia C.Complex regional pain syndrome (CRPS) D. Seasonal allergies |
| 29 | What does the acronym "LASER" stand for? A. Light Amplification by Spontaneous Emission of Radiation B. Light Absorption and Stimulated Emission of Radiation C. Light Amplification by Stimulated Emission of Radiation D. Light Application by Systematic Emission of Rays |
| 30 | Which wavelength range is best absorbed by melanin and hemoglobin, making it useful for treating vascular lesions? A. Ultraviolet (100–400 nm) B. Visible red (600–700 nm) C.Near-infrared (700–900 nm) D.Mid-infrared (1500–2000 nm) |
| 31 | Which of the following is a common method for analyzing the transient response of a physiological system? A. Fourier transform B. Laplace transform C. Regression analysis D. Histological examination |
| 32 | In biomechanics, which model is often used to represent the mechanical behavior of muscles? A.Hydraulic model B.Electromechanical model C.Spring-damper model D. Oscillatory model |
| 33 | Which physiological system model is essential for understanding the regulation of blood glucose levels? A. Neurological model B. Cardiovascular model C. Endocrine model D. Respiratory model |
| 34 | What does an ECG (Electrocardiogram) measure? A. Brain electrical activity B. Electrical activity of the heart C.Muscle contraction D. Oxygen saturation |
| 35 | In EMG (Electromyography), electrodes are used to measure electrical activity in: A. Nerves B. Bones C. Muscles D. Skin |
| 36 | What type of waves does an EEG (Electroencephalogram) primarily detect? A. Sound waves B. Light waves C. Electrical waves in the brain D. Pressure waves |
| 37 | Which sensor is commonly used in patient monitoring to measure blood oxygen levels? A. ECG sensor B. Pulse oximeter sensor C EEG sensor D Ultrasound probe |
| 38 | The main function of a slit lamp in ophthalmology is to: A. Measure intraocular pressure B. Examine the anterior and posterior segments of the eye C.Assess hearing function D.Capture retinal images |
| 39 | Tonometry is primarily used to diagnose: A. Cataracts B. Glaucoma C. Retinal detachment D. Myopia |
| 40 | A spectrophotometer in clinical labs is commonly used to measure: A. Blood pressure B. Light absorbance of samples C. pH levels D. Blood flow |
| 41 | In laser-tissue interaction, _______process involves the absorption of photons to initiate a chemical reaction in tissue A. Photothermal interaction B.Photochemical interaction C.Photomechanical interaction D. Photodynamic interaction |
| 42 | _______ is the primary mechanism of tissue ablation when using an excimer laser A.Thermal coagulation B. Vaporization C.Cold photochemical decomposition D. Photodynamic effect |
| 43 | _________is the significance of the thermal relaxation time in laser-tissue interactions A. It defines the total energy absorbed by the tissue B.It determines the rate of tissue cooling C.It helps to prevent thermal damage to surrounding tissues D. It defines the wavelength of the laser |
| 44 | _______factor is critical in selecting a laser for a specific type of tissue treatment A. Electrical power of the laser \ B. Color and composition of the target tissue C. Type of cooling mechanism D. Shape of the laser beam |
| 45 | ____________type of tissue response is expected when a laser’s energy is primarily absorbed by water within the tissue. A. Coagulation B.Vaporization C. Pigmentation D. Photochemical reaction |
| 46 | _______ surgical instrument is specifically designed to cut tissue and sutures A. Hemostat B. Scalpel C.Forceps D. Scissors |
| 47 | ________ therapeutic device is commonly used to treat patients with irregular heart rhythms A. Ventilator B. Defibrillator C. Pacemaker D.Ultrasound machine |
| 48 | _______ type of laser is frequently used in eye surgery, particularly for correcting vision A. CO₂ laser B. Excimer laser C. Nd laser D. Diode laser |
| 49 | ________is the primary use of a diathermy machine in medical treatment A.To provide respiratory support B.To cut and coagulate tissue C.To deliver targeted radiation D.To monitor heart rate |
| 50 | Any excess energy in the nucleus after beta decay is emitted as ______ A.Alpha rays B. Positron rays C. Negatron decay D. Gamma rays |

Answer Key

B

| Question No. | Correct Option | Question No. | Correct Option |
| --- | --- | --- | --- |
| 1 |  | 26 | B |
| 2 |  | 27 | C |
| 3 |  | 28 | C |
| 4 |  | 29 | C |
| 5 |  | 30 | B |
| 6 |  | 31 | B |
| 7 |  | 32 | C |
| 8 |  | 33 | C |
| 9 |  | 34 | B |
| 10 |  | 35 | C |
| 11 |  | 36 | C |
| 12 |  | 37 | B |
| 13 |  | 38 | B |
| 14 |  | 39 | B |
| 15 |  | 40 | B |
| 16 |  | 41 | B |
| 17 |  | 42 | C |
| 18 |  | 43 | C |
| 19 |  | 44 | B |
| 20 |  | 45 | B |
| 21 |  | 46 | D |
| 22 |  | 47 | C |
| 23 |  | 48 | B |
| 24 |  | 49 | B |
| 25 |  | 50 | D |