|  | # College of Allied Health Sciences, SRMIST, TRC # Subject: Renal Dialysis Technology |
| --- | --- |

Ph.D. Entrance Examination – January 2026

B

MCQ Type Question Paper

| Name | :_______________________________ | Department | : RDT |
| --- | --- | --- | --- |
| Application No. | :_______________________________ | Date | : 10/11/2025 |
|  |  | Duration | : 2 hrs |
|  |  | Maximum Marks | : 50×1=50 |

Instructions to candidates: - All questions are Multiple Choice Questions (MCQs). - Each question has four options, of which only one is correct. - Each correct answer carries one mark. - There is no negative marking for incorrect answers. - The use of calculators, mobile phones, smartwatches, or any reference material is strictly prohibited during the examination. - Use only a black or blue ballpoint pen to mark your answers in the OMR sheet. - Perform rough work only in the space provided in the question paper booklet. - Ensure that all required details (such as Name, Registration Number, etc.) are filled in correctly on the OMR sheet before starting the exam.

- Ultrafiltration rate depends mainly on:
A) Blood flow rate

B) Dialysate flow rate

C) Transmembrane pressure

D) Temperature

- Which of the following is used to prevent blood clotting during dialysis?
A) Sodium chloride
B) Heparin 
C) Calcium
D) Vitamin K

- A patient on CAPD presents with cloudy dialysate and abdominal pain. Effluent WBCs = 250/mm³ with 60% lymphocytes. The likely diagnosis is:
A. Bacterial peritonitis
B. Tuberculous peritonitis
C. Chemical peritonitis
D. Fungal peritonitis

- Common cause of intradialytic hypotension is:
A) High blood flow

B) Rapid ultrafiltration

C) Low dialysate sodium

D) All of these

- The main determinant of solute removal by diffusion in dialysis is:
A) Dialysate temperature
B) Membrane surface area 
C) Blood pressure
D) Ultrafiltration rate

- In dialysis adequacy assessment, which parameter best represents solute clearance?
A. Serum creatinine
B. Kt/V
C. Ultrafiltration volume
D. Serum albumin

- The Kt/V value indicating adequate dialysis is:
A) <1.0

B) 1.2–1.4

C) >2.0

D) None

- When the air detector alarm sounds, the first action is to:
A) Clamp the venous line 
B) Stop the dialysate pump
C) Increase ultrafiltration
D) Ignore it if patient is stable

- In peritoneal dialysis, rapid glucose absorption results in:
A. Increased ultrafiltration
B. Decreased osmotic gradient → fluid reabsorption
C. Increased sodium removal
D. Reduced peritoneal protein loss

- The endotoxin limit in product water used for dialysis is:
A) <0.1 EU/mL

B) <0.25 EU/mL

C) <0.5 EU/mL

D) <1 EU/mL

- The main buffer used in the body to maintain acid-base balance is:
A) Bicarbonate 
B) Lactate
C) Phosphate
D) Ammonia

- In chronic HD, which electrolyte imbalance contributes most to cardiac arrhythmias?
A. Hypocalcemia
B. Hyperkalemia
C. Hypomagnesemia
D. Hyponatremia

- In a dialysis patient, low albumin levels indicate:
A) Good nutrition
B) Malnutrition or inflammation 
C) Hypercalcemia
D) High phosphate intake

- In a patient with an AV fistula, loss of thrill and bruit suggests:
A. Stenosis or thrombosis
B. Infection
C. Aneurysm formation
D. Steal syndrome

- The primary buffer used in modern dialysate is:
A) Lactate

B) Bicarbonate

C) Acetate

D) Citrate

- Normal serum creatinine level in adults is around:
A) 0.2–0.5 mg/dL
B) 0.6–1.3 mg/dL 
C) 2–3 mg/dL
D) 4–6 mg/dL

- . In PD, which condition reduces peritoneal membrane transport capacity?
A. Repeated peritonitis
B. High dialysate glucose
C. Hypokalemia
D. Anemia

- The fiber bundle volume (FBV) of a dialyzer is used to assess:
A) Membrane area

B) Fiber integrity

C) Urea clearance

D) All

- The URR (Urea Reduction Ratio) below 60% indicates:

A) Adequate dialysis
B) Hypotension 
C) Hyperfiltration
D) Inadequate dialysis

- In hemodialysis, dialysate sodium concentration is increased temporarily to:
A. Control hyperkalemia
B. Prevent dialysis disequilibrium
C. Prevent intradialytic hypotension and cramps
D. Increase urea removal

- Online Hemodiafiltration combines:
A) Diffusion + Adsorption

B) Convection + Diffusion

C) Adsorption + Filtration

D) Osmosis + Convection

- Muscle cramps during dialysis are caused by:
A) Low calcium
B) High temperature 
C) Rapid fluid removal

D)Excess heparin

- The best initial management for dialysis disequilibrium syndrome is:
A. Hypertonic saline
B. Mannitol or hypertonic glucose
C. Stop dialysis immediately
D. Calcium gluconate

- Monthly quality assurance tests in dialysis unit include:
A) Water microbiology

B) Dialysate conductivity

C) Machine calibration

D) All

- Cloudy effluent in peritoneal dialysis indicates:
A) Dehydration
B) Peritonitis 
C) High sugar
D) Blocked catheter