SRM Institute of Science and Technology

Faculty of Engineering and Technology

Ramapuram, Chennai, Tamil Nadu—600089

Department of Biomedical Engineering

PhD Entrance Examination, November 2025

Set:B

Test: PhD Entrance Examination                                                                  Date: 10/11/2025

Duration: 2 Hours                                                                                          Max. Marks: 50

Name:                                                                      Application No.

Instructions: Answer all the questions | Write the correct option in last page

| Q.No | Questions |
| --- | --- |
| 1 | A laryngoscope is primarily used in procedures involving ________ part of the body a) Heart b) Lungs c) Vocal cords and throat d) Stomach |
| 2 | ________type of laser is commonly used in dermatology to treat skin conditions like wrinkles and scars? a) CO₂ laser b) Nd laser c) Argon laser d) Helium-neon laser |
| 3 | ________instrument is used to scrape or remove tissue during surgery a) Scalpel b) Curette c) Hemostat d) Needle holder |
| 4 | ________ therapeutic device delivers high-frequency electrical currents to cut, coagulate, or destroy tissue a) Defibrillator b) Ultrasound machine c) Electrosurgical unit d) Pacemaker |
| 5 | ________is the primary use of a diathermy machine in medical treatment a) To provide respiratory support b) To cut and coagulate tissue c) To deliver targeted radiation d) To monitor heart rate |
| 6 | _________ instrument is commonly used to hold and manipulate sutures during surgery a) Hemostat b) Scalpel c) Needle holder d) Curette |
| 7 | __________device is essential in minimally invasive surgeries, allowing surgeons to perform procedures through small incisions a) Retractor b) Laparoscope c) Forceps d) Autoclave |
| 8 | ________ therapeutic instrument is used to assist patients who have difficulty breathing a) Defibrillator b) Ventilator c) Dialysis machine d) Pacemaker |
| 9 | ______ is the primary factor that determines the depth of laser penetration in biological tissue a) Power of the laser b) Wavelength of the laser c) Duration of laser exposure d) Diameter of the laser beam |
| 10 | In an EEG recording system, what type of electrodes is typically used to detect brain activity------ A) Surface electrodes B) Intramuscular electrodes C) Subcutaneous electrodes D) Ultrasonic sensors |
| 11 | Which type of electrode is commonly used in electrocardiography (ECG)? A) Silver chloride electrode B) Tungsten electrode C) Copper electrode D) Gold electrode |
| 12 | _______factor is critical in selecting a laser for a specific type of tissue treatment a) Electrical power of the laser b) Color and composition of the target tissue c) Type of cooling mechanism d) Shape of the laser beam |
| 13 | _________is the primary purpose of an endoscope. a) To measure blood pressure b) To visualize internal organs c) To monitor heart rate d) To administer medication Answer: b) To visualize internal organs |
| 14 | …………………………. is a biomaterial. A) A synthetic substance that interacts with biological systems B) Any material that absorbs water C) Material only used for cosmetic applications D) Material primarily used for non-medical purposes |
| 15 | Polyurethane is commonly used in biomaterials for its ………………. A) Rigidity and hardness B) Elasticity and durability C) Opacity D) High thermal resistance |
| 16 | ………………ceramic material is commonly used in dental applications. A) Zirconia B) Silicone rubber C) Polypropylene D) Acrylic |
| 17 | Active biomaterials are known for their ability to ……………. A) Change properties in response to stimuli B) Remain inert in the body C) Dissolve in water D) Remain unchanged regardless of the environment |
| 18 | A biomaterial that does not react with surrounding tissues is termed ……………. A) Bioactive B) Bioinert C) Biodegradable D) Toxic |
| 19 | …………….. material is often considered bioactive due to its ability to form a bond with bone. A) Hydroxyapatite B) Silicone C) Polystyrene D) Polypropylene |
| 20 | In orthopedic applications, …………….. material is commonly used for hip prostheses. A) Stainless steel B) Acrylic C) Polyurethane D) Silicone |
| 21 | Which of the following techniques is used for cutting tissue with a surgical diathermy unit? A) Fulguration B) Electrocoagulation C) Desiccation D) Electrosurgical incision |
| 22 | In electrosurgery, what is the function of the active electrode (also known as the "diathermy pencil")? A) To provide lighting in the operating room B) To deliver electrical energy to the patient's body tissue C) To measure the patient's blood pressure D) To maintain a sterile surgical field |
| 23 | In non-contact tonometry, what instrument is used to measure IOP without touching the cornea? A) Tonometer probe B) Air puff tonometer C) Ophthalmoscope D) Slit lamp |
| 24 | Diathermy principle is used in a) Surgical and Therapeutic b) Therapeutic and Diagnostic c) Diagnostic and surgical d) Diagnostic and rehabilitative |
| 25 | Transcutaneous Electric Nerve Stimulation (TENS) is primarily used for: A) Measuring blood pressure B) Treating psychological disorders C) Diagnosing respiratory conditions D) Providing pain relief |